When ordering DAQ Boards from Eagle Technology,  “Internal” cables are supplied “free of charge” depending on their versions.

EXAMPLE

PCI-62C-48, which would require the following:

(1x) Type 3 Cable – 190.0mm (PCI-62C Opto’s 32-47)

(1x) Type 3 Cable – 225.0mm (PCI-62C Opto’s 16-31)

(1x) Type 5 Cable – 145.0mm (PCI-62C I/O)

